## Sheet1
WTT ID | Work instruction task | Maintainable Item | Reporting Question | Reporting Question Equivalence
PM00277B | 2.a.1 | Transmitters | Are there any signs of physical damage, leakage, or corrosion on the transmitter loop components? [Y/N] | N/A
PM00277B | 2.a.2 | Transmitters | Are the mounting arrangements and fastenings secure? [Y/N] | N/A
PM00277B | 2.a.2 | Transmitters | Is there insulation material present at the interface to prevent galvanic corrosion? [Y/N] | N/A
PM00277B | 2.a.4 | *Junction box | Is the junction box secure and free from deterioration and water ingress? [Y/N] | N/A
PM00277B | 2.a.5 | Transmitters | Are the cabling, earthing connections, glanding, and shrouding in good condition and secure? [Y/N] | N/A
PM00277B | 5.a.1 | Transmitters | Is the transmitter housing free from water ingress? [Y/N] | Do not enter
PM00277B | 5.b.1 | Control Valve | Is the feedback arm aligned to the positioner as per manufacturer procedures? [Y/N] | N/A
PM00277B | 6.a.3 | Transmitters | Are the associated indications correct on local display, local control panel, or ICSS? [Y/N] | COVERAGE
PM00277B | 6.a.3 | Transmitters | Do all associated trips and alarms operate at the correct set-point? [Y/N] | COVERAGE
PM00277B | 6.b.4 | Transmitters | Are the associated indications correct on local display, local control panel? [Y/N] | COVERAGE
PM00277B | 6.d.1 | *Control valve | Is the control valve function test successful? [Y/N] | N/A
PM00277B | 6.e.3 | *Anti-surge valve | Does the anti-surge valve operate smoothly through the full range of travel? [Y/N] | N/A
PM00277B | 6.g.2 | *Vibration transmitter | Is the vibration transmitter signal correct at 50% and 100% of full range? [Y/N] | COVERAGE
Note on C8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Control Valve